## main
OPEN 6.3.4
Thr Mar 30 2023 07:31:28
Unit= | PSC-3244
LCF= | LCF-1470
LCFCals= | -2.03 | -0.24 | -2940
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF.xml
Remark= | teste
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
in | in | in | in | out | out | out | in | in | in | in | in | in | in | out | out | out | in | in | in | in | out | out | out | out | out | in | in | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "07:31:56 testfog"
Remark= | "07:32:21 Fo=407"
Remark= | "07:32:22 RF#3 7775 um, Fmax=1958 Int=9 Mod=20 Filter=50"
Remark= | "07:32:23 Fm=1958"
1 | 07:32:23 | 77 | 0 | -1.2619 | 0.20627 | 959.3588 | 3 | 0 | 407.8324 | 1958.1418 | 0 | 0 | 0 | 0.79172 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 0.59799 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 2.1228 | 0.96882 | 23.4755 | 2 | 4.6449 | 1 | 9.2897 | 24.3525 | 23.4755 | 24.2009 | 966.0574 | 965.5334 | 19.07 | 20.4533 | 58.9198 | 63.1939 | 300.628 | -0.5034 | 66.6504 | 94.5121 | -2.0296 | -0.40108 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.0021228 | 296.6255 | 297.5025 | -0.080545 | -0.33517 | 2.9019 | 30.7041 | 10.2508 | 23.914 | 2.9795 | 0.20179 | 1.9331 | 1.0465 | 0.12651 | 90.671 | 0.9936 | 66.4822 | 965.7168 | -0.00086872 | 1550.3094 | -0.43796 | 0 | 0 | 1.2631
Remark= | "08:01:40 tr2t1b2"
Remark= | "08:09:53 Fo=3"
Remark= | "08:09:53 RF#4 8452 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:09:54 Fm=4"
2 | 08:09:54 | 2331.9998 | 0 | -483.4662 | -0.14631 | -3737.7918 | 4 | 0 | 3.0206 | 4.5543 | 0 | 0 | 0 | 0.33675 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 849.9077 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.765 | 1.0941 | 23.4987 | 2 | 4.6449 | 1 | 9.2897 | 25.4074 | 23.4987 | 25.415 | 1132.9426 | 1456.325 | 20.3247 | 19.1729 | 58.9594 | 55.6182 | 300.5956 | -0.65249 | 153.512 | 94.5031 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.001765 | 296.6487 | 298.5574 | -0.1044 | 0.39765 | 2.906 | 30.7499 | 11.577 | 24.4531 | 3.0775 | -0.14865 | 1.8119 | 1.2656 | -0.092692 | -353.233 | -2.5666 | 60.7693 | 1526.5832 | -0.19246 | 1.5336 | -0.56767 | 0 | 0 | 2.9696
Remark= | "08:10:55 tr4t1b2"
Remark= | "08:10:59 Fo=0"
Remark= | "08:10:59 RF#5 8527 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:11:01 Fm=4"
3 | 08:11:01 | 2398.4998 | 0 | -220.5885 | -0.18723 | -585.1533 | 5 | 0 | 0.55806 | 4.2319 | 0 | 0 | 0 | 0.86813 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 434.4124 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -2.2922 | 1.1056 | 23.3789 | 2 | 4.6449 | 1 | 9.2897 | 25.3372 | 23.3789 | 25.3419 | 1125.2831 | 1273.9913 | 20.3258 | 18.8294 | 59.2084 | 54.8496 | 300.6003 | -0.58102 | 151.1203 | 94.5016 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0022922 | 296.5289 | 298.4872 | -0.092963 | 0.49289 | 2.885 | 30.529 | 11.6995 | 24.358 | 3.06 | -0.19108 | 1.7794 | 1.2806 | -0.11908 | -55.2979 | -0.45931 | 59.8994 | 1306.0477 | -0.10117 | 3.6739 | -0.50548 | 0 | 0 | 1.1519
Remark= | "08:11:52 tr6t1b2"
Remark= | "08:12:46 Fo=3"
Remark= | "08:12:46 RF#6 8540 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:12:48 Fm=3"
4 | 08:12:48 | 2505.9998 | 0 | -122.1075 | -0.17008 | 54.6439 | 6 | 0 | 3.0765 | 3.7685 | 0 | 0 | 0 | 0.18361 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 385.9851 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -2.0154 | 1.0722 | 23.2571 | 2 | 4.6449 | 1 | 9.2897 | 25.2103 | 23.2571 | 25.1896 | 1114.1442 | 1196.9934 | 20.2748 | 18.9593 | 59.5079 | 55.6468 | 300.5941 | -0.36065 | 152.3435 | 94.5022 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0020154 | 296.4071 | 298.3603 | -0.057703 | 0.44388 | 2.8639 | 30.3051 | 11.3459 | 24.2337 | 3.0373 | -0.17326 | 1.7917 | 1.2456 | -0.108 | 5.164 | 0.045651 | 60.8998 | 1214.7383 | -0.061218 | 0.69192 | -0.31376 | 0 | 0 | 5.4463
Remark= | "08:15:03 tr1t1b2"
Remark= | "08:15:20 Fo=1"
Remark= | "08:15:20 RF#7 8425 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:15:21 Fm=3"
5 | 08:15:21 | 2659.4998 | 0 | -465.9445 | -0.33108 | -778.1539 | 7 | 0 | 1.9005 | 3.7069 | 0 | 0 | 0 | 0.48729 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 1166.1689 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -4.2047 | 1.1304 | 22.691 | 2 | 4.6449 | 1 | 9.2897 | 24.8135 | 22.691 | 24.8806 | 1097.197 | 1411.1154 | 20.0715 | 17.3227 | 60.3201 | 52.0594 | 300.6373 | -0.45827 | 151.522 | 94.5003 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5032 | -0.0042047 | 295.841 | 297.9635 | -0.073323 | 0.8375 | 2.7674 | 29.2847 | 11.962 | 23.7522 | 2.9507 | -0.34332 | 1.637 | 1.3137 | -0.21344 | -73.5358 | -0.55145 | 56.6326 | 1478.8273 | -0.17844 | 1.8063 | -0.39869 | 0 | 0 | 2.0521
Remark= | "08:16:11 tr5t1b2"
Remark= | "08:16:33 Fo=2"
Remark= | "08:16:33 RF#8 8633 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:16:34 Fm=4"
6 | 08:16:34 | 2732.9998 | 0 | -313.1588 | -0.39443 | 63.2617 | 8 | 0 | 2.5145 | 4.9014 | 0 | 0 | 0 | 0.48697 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 956.9384 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -5.0882 | 1.1408 | 22.3646 | 2 | 4.6449 | 1 | 9.2897 | 24.6384 | 22.3646 | 24.7187 | 1088.1995 | 1300.9663 | 19.9667 | 16.6376 | 60.6361 | 50.526 | 300.5904 | -0.37495 | 151.3467 | 94.5004 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0050882 | 295.5146 | 297.7884 | -0.059992 | 1.0002 | 2.7131 | 28.7098 | 12.0722 | 23.5015 | 2.9065 | -0.41192 | 1.5723 | 1.3342 | -0.25582 | 5.9783 | 0.048627 | 55.0675 | 1346.4752 | -0.12807 | 2.3868 | -0.32621 | 0 | 0 | 2.0535
Remark= | "08:17:39 tr3t1b2"
Remark= | "08:17:47 Fo=2"
Remark= | "08:17:47 RF#9 8644 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:17:48 Fm=3"
7 | 08:17:48 | 2806.9998 | 0 | -26.0632 | -0.099455 | 670.487 | 9 | 0 | 2.5392 | 3.43 | 0 | 0 | 0 | 0.25971 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 57.5452 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0155 | 0.93151 | 22.5703 | 2 | 4.6449 | 1 | 9.2897 | 24.604 | 22.5703 | 24.5947 | 1082.1865 | 1100.2704 | 19.8775 | 19.2148 | 60.486 | 58.4695 | 300.6059 | -0.50062 | 152.7009 | 94.4949 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0010155 | 295.7203 | 297.754 | -0.080099 | 0.27054 | 2.7472 | 29.0726 | 9.8578 | 23.5872 | 2.9215 | -0.10053 | 1.8157 | 1.1058 | -0.062735 | 63.3576 | 0.60938 | 64.8776 | 1104.0579 | -0.015315 | 0.89078 | -0.43554 | 0 | 0 | 3.8505
Remark= | "08:20:51 tr6t1b3"
Remark= | "08:21:09 Fo=2"
Remark= | "08:21:09 RF#10 8584 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:21:10 Fm=4"
8 | 08:21:10 | 3009.4998 | 0 | -246.5648 | -0.054318 | -5956.1033 | 10 | 0 | 2.3616 | 4.3565 | 0 | 0 | 0 | 0.45792 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 569.9037 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.6141 | 1.0358 | 23.2099 | 2 | 4.6449 | 1 | 9.2897 | 24.5467 | 23.2099 | 24.5512 | 1063.3076 | 1227.8551 | 19.662 | 19.2613 | 60.0323 | 58.8089 | 300.6049 | -0.49527 | 13.6134 | 94.4895 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0006141 | 296.3599 | 297.6967 | -0.079244 | 0.16842 | 2.8557 | 30.2229 | 10.9615 | 23.8783 | 2.9732 | -0.054637 | 1.82 | 1.1532 | -0.034119 | -562.7892 | -4.8508 | 62.5921 | 1263.6864 | -0.12213 | 1.9949 | -0.43089 | 0 | 0 | 2.1838
Remark= | "08:22:11 tr2t1b3"
Remark= | "08:22:19 Fo=2"
Remark= | "08:22:19 RF#11 8589 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:22:20 Fm=4"
9 | 08:22:20 | 3079.4998 | 0 | -32.9325 | -0.0059851 | -7659.856 | 11 | 0 | 2.1309 | 4.9872 | 0 | 0 | 0 | 0.57273 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 119.5545 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.068457 | 1.0529 | 23.4658 | 2 | 4.6449 | 1 | 9.2897 | 24.6279 | 23.4658 | 24.612 | 1056.991 | 1078.9523 | 19.5954 | 19.5507 | 59.5378 | 59.4021 | 300.5868 | -0.30701 | 13.2104 | 94.4873 | -2.0296 | -0.40108 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -6.8457e-05 | 296.6158 | 297.7779 | -0.049121 | 0.064463 | 2.9002 | 30.6941 | 11.1434 | 24.0469 | 3.0034 | -0.005989 | 1.8473 | 1.1561 | -0.0037428 | -723.7593 | -7.0993 | 62.7357 | 1083.7381 | -0.019064 | 2.8564 | -0.2671 | 0 | 0 | 1.746
Remark= | "08:24:09 tr4t1b3"
Remark= | "08:24:14 Fo=2"
Remark= | "08:24:14 RF#12 8536 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:24:16 Fm=3"
10 | 08:24:16 | 3194.9998 | 0 | -22.6527 | 0.013232 | 3759.9658 | 12 | 0 | 2.4718 | 3.3885 | 0 | 0 | 0 | 0.27053 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 63.697 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.1566 | 1.0913 | 23.74 | 2 | 4.6449 | 1 | 9.2897 | 24.7906 | 23.74 | 24.7515 | 1048.2034 | 1063.1636 | 19.554 | 19.6562 | 58.8351 | 59.1424 | 300.6137 | -0.39073 | 13.9885 | 94.4835 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.0001566 | 296.89 | 297.9406 | -0.062516 | 0.019763 | 2.9485 | 31.2067 | 11.5505 | 24.2653 | 3.043 | 0.013213 | 1.8572 | 1.1859 | 0.0082598 | 355.2549 | 3.5366 | 62.0752 | 1066.4555 | -0.013185 | 0.91669 | -0.33993 | 0 | 0 | 3.6964
Remark= | "08:25:20 tr1t1b3"
Remark= | "08:25:25 Fo=2"
Remark= | "08:25:25 RF#13 8483 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:25:26 Fm=4"
11 | 08:25:26 | 3265.9998 | 0 | -63.1864 | 0.033294 | 4081.9293 | 13 | 0 | 2.8689 | 4.5648 | 0 | 0 | 0 | 0.37152 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 121.3941 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.39592 | 1.0986 | 23.8698 | 2 | 4.6449 | 1 | 9.2897 | 24.8893 | 23.8698 | 24.8442 | 1043.6484 | 1085.4006 | 19.5658 | 19.824 | 58.5227 | 59.2949 | 300.615 | -0.58881 | 14.1674 | 94.4804 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.00039592 | 297.0198 | 298.0393 | -0.09421 | -0.023928 | 2.9716 | 31.4523 | 11.6283 | 24.3795 | 3.0639 | 0.033175 | 1.873 | 1.191 | 0.020745 | 385.6622 | 3.7608 | 62.1915 | 1094.583 | -0.035901 | 1.6959 | -0.51227 | 0 | 0 | 2.6916
Remark= | "08:26:38 tr3t1b3"
Remark= | "08:26:46 Fo=2"
Remark= | "08:26:46 RF#14 8448 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:26:48 Fm=3"
12 | 08:26:48 | 3347.4998 | 0 | -19.4248 | 0.016626 | 2884.2068 | 14 | 0 | 2.1726 | 3.3768 | 0 | 0 | 0 | 0.35662 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 65.1145 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.20558 | 1.1401 | 24.0686 | 2 | 4.6449 | 1 | 9.2897 | 25.011 | 24.0686 | 24.9572 | 1038.2493 | 1051.0305 | 19.6288 | 19.7629 | 58.2865 | 58.6847 | 300.5773 | -0.32524 | 14.0265 | 94.4803 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.00020558 | 297.2186 | 298.161 | -0.052039 | 0.0063786 | 3.0073 | 31.8303 | 12.0674 | 24.5398 | 3.0935 | 0.016597 | 1.8672 | 1.2263 | 0.010376 | 272.5007 | 2.7442 | 61.154 | 1053.8534 | -0.011272 | 1.2042 | -0.28296 | 0 | 0 | 2.8041
Remark= | "08:28:33 tr5t1b3"
Remark= | "08:28:37 Fo=2"
Remark= | "08:28:37 RF#15 8554 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:28:39 Fm=3"
13 | 08:28:39 | 3458.4998 | 0 | -113.2494 | 0.063567 | 3924.1167 | 15 | 0 | 2.2102 | 3.9496 | 0 | 0 | 0 | 0.44039 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 241.9777 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.76824 | 1.1197 | 24.2057 | 2 | 4.6449 | 1 | 9.2897 | 25.1639 | 24.2057 | 25.1079 | 1031.026 | 1105.8162 | 19.7402 | 20.241 | 58.09 | 59.5638 | 300.5738 | -0.5332 | 13.9435 | 94.4876 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.00076824 | 297.3557 | 298.3139 | -0.085312 | -0.092195 | 3.0322 | 32.0909 | 11.8498 | 24.6848 | 3.1204 | 0.063135 | 1.9125 | 1.2079 | 0.039498 | 370.7803 | 3.5486 | 62.3397 | 1122.2738 | -0.062907 | 1.7393 | -0.46388 | 0 | 0 | 2.2707
Remark= | "08:30:16 tr6t1b4"
Remark= | "08:30:20 Fo=1"
Remark= | "08:30:20 RF#16 8474 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:30:21 Fm=3"
14 | 08:30:21 | 3561.4998 | 0 | -72.1258 | 0.058015 | 3031.425 | 16 | 0 | 1.6067 | 3.8472 | 0 | 0 | 0 | 0.58237 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 231.5786 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.71207 | 1.1362 | 24.3498 | 2 | 4.6449 | 1 | 9.2897 | 25.2945 | 24.3498 | 25.2365 | 1024.6459 | 1072.1313 | 19.8815 | 20.3457 | 58.0499 | 59.4053 | 300.565 | -0.35303 | 13.9337 | 94.4832 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5028 | 0.00071207 | 297.4998 | 298.4445 | -0.056485 | -0.082722 | 3.0585 | 32.3707 | 12.0251 | 24.8222 | 3.1461 | 0.057655 | 1.9223 | 1.2238 | 0.036066 | 286.4186 | 2.8275 | 62.0832 | 1082.6128 | -0.041361 | 2.2405 | -0.30713 | 0 | 0 | 1.7171
Remark= | "08:31:29 tr1t1b4"
Remark= | "08:31:33 Fo=2"
Remark= | "08:31:33 RF#17 8458 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:31:34 Fm=4"
15 | 08:31:34 | 3634.4997 | 0 | -32.8298 | 0.045207 | 2175.1536 | 17 | 0 | 2.3253 | 4.4571 | 0 | 0 | 0 | 0.47829 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 95.7851 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.56789 | 1.1611 | 24.4922 | 2 | 4.6449 | 1 | 9.2897 | 25.3959 | 24.4922 | 25.3333 | 1019.3741 | 1040.8229 | 19.9889 | 20.359 | 58.0132 | 59.0874 | 300.6122 | -0.38196 | 13.6768 | 94.4838 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.00056789 | 297.6422 | 298.5459 | -0.061114 | -0.059133 | 3.0847 | 32.6477 | 12.2887 | 24.9441 | 3.1691 | 0.044988 | 1.9236 | 1.2455 | 0.028137 | 205.5167 | 2.0898 | 61.5222 | 1045.5938 | -0.019317 | 2.1318 | -0.3323 | 0 | 0 | 2.0908
Remark= | "08:32:23 tr3t1b4"
Remark= | "08:32:26 Fo=1"
Remark= | "08:32:26 RF#18 8567 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:32:28 Fm=3"
16 | 08:32:28 | 3687.9997 | 0 | -107.0224 | 0.087474 | 3018.6516 | 18 | 0 | 1.7109 | 3.0985 | 0 | 0 | 0 | 0.44784 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 277.0659 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 1.0764 | 1.1422 | 24.6055 | 2 | 4.6449 | 1 | 9.2897 | 25.468 | 24.6055 | 25.4041 | 1015.6034 | 1086.0371 | 20.0791 | 20.7805 | 58.0281 | 60.055 | 300.576 | -0.43984 | 13.9424 | 94.4873 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.0010764 | 297.7555 | 298.618 | -0.070375 | -0.15067 | 3.1057 | 32.8685 | 12.0881 | 25.0367 | 3.1866 | 0.086658 | 1.9635 | 1.2232 | 0.054234 | 285.2242 | 2.7795 | 62.5618 | 1101.5898 | -0.06078 | 1.3876 | -0.38266 | 0 | 0 | 2.2329
Remark= | "08:33:53 tr5t1b4"
Remark= | "08:34:01 Fo=1"
Remark= | "08:34:01 RF#19 8496 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:34:02 Fm=3"
17 | 08:34:02 | 3782.4997 | 0 | -25.0448 | 0.038673 | 2034.1982 | 19 | 0 | 1.6861 | 3.4706 | 0 | 0 | 0 | 0.51417 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 61.1245 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.49932 | 1.1922 | 24.746 | 2 | 4.6449 | 1 | 9.2897 | 25.5919 | 24.746 | 25.5255 | 1009.7491 | 1026.0703 | 20.2034 | 20.5287 | 57.9592 | 58.8926 | 300.6215 | -0.45215 | 12.4883 | 94.487 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.00049932 | 297.896 | 298.7419 | -0.072345 | -0.049636 | 3.1319 | 33.1458 | 12.6171 | 25.169 | 3.2118 | 0.038513 | 1.9397 | 1.2721 | 0.024085 | 192.2053 | 1.9825 | 61.047 | 1029.7099 | -0.014848 | 1.7845 | -0.39337 | 0 | 0 | 1.9449
Remark= | "08:35:16 tr2t1b4"
Remark= | "08:35:20 Fo=1"
Remark= | "08:35:20 RF#20 8523 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:35:22 Fm=3"
18 | 08:35:22 | 3862.4997 | 0 | -46.8605 | 0.058698 | 2285.3212 | 20 | 0 | 1.9698 | 3.7293 | 0 | 0 | 0 | 0.47181 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 138.8384 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.75028 | 1.1824 | 24.8389 | 2 | 4.6449 | 1 | 9.2897 | 25.6869 | 24.8389 | 25.62 | 1004.5529 | 1035.2155 | 20.3275 | 20.8163 | 57.9859 | 59.3803 | 300.5862 | -0.37967 | 13.1082 | 94.4847 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.00075028 | 297.9889 | 298.8369 | -0.060748 | -0.093692 | 3.1493 | 33.3309 | 12.5146 | 25.2629 | 3.2299 | 0.058329 | 1.9668 | 1.263 | 0.036489 | 215.928 | 2.2076 | 61.651 | 1042.0253 | -0.027725 | 1.7595 | -0.33032 | 0 | 0 | 2.1195
Remark= | "08:37:45 tr4t1b4"
Remark= | "08:37:50 Fo=1"
Remark= | "08:37:50 RF#21 8592 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:37:51 Fm=3"
19 | 08:37:51 | 4012.4997 | 0 | -30.536 | 0.018605 | 3595.9389 | 21 | 0 | 1.6202 | 3.9854 | 0 | 0 | 0 | 0.59346 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 77.4201 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.24312 | 1.2038 | 24.8302 | 2 | 4.6449 | 1 | 9.2897 | 25.8447 | 24.8302 | 25.7774 | 993.5558 | 1013.7088 | 20.4155 | 20.5739 | 57.6928 | 58.1405 | 300.5952 | -0.43851 | 12.8329 | 94.4816 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | 0.00024312 | 297.9802 | 298.9947 | -0.070161 | 0.0033341 | 3.1476 | 33.3147 | 12.7408 | 25.3375 | 3.2442 | 0.018568 | 1.9439 | 1.3004 | 0.011608 | 339.7502 | 3.5473 | 60.7757 | 1018.1463 | -0.018228 | 2.3652 | -0.3815 | 0 | 0 | 1.685
Remark= | "08:40:00 tr5t1b5"
Remark= | "08:40:22 Fo=2"
Remark= | "08:40:22 RF#22 8520 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:40:24 Fm=4"
20 | 08:40:24 | 4164.9997 | 0 | -5.4187 | 0.0030054 | 3822.0198 | 22 | 0 | 2.16 | 4.2868 | 0 | 0 | 0 | 0.49612 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 9.6823 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.038382 | 1.1749 | 24.6361 | 2 | 4.6449 | 1 | 9.2897 | 25.867 | 24.6361 | 25.8163 | 982.0078 | 985.588 | 20.4694 | 20.4944 | 57.7731 | 57.8437 | 300.5876 | -0.52457 | 12.179 | 94.4886 | -2.0296 | -0.40108 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 3.8382e-05 | 297.7861 | 299.017 | -0.083931 | 0.049242 | 3.1113 | 32.9283 | 12.4339 | 25.2515 | 3.2277 | 0.0030045 | 1.9365 | 1.2912 | 0.0018779 | 361.1371 | 3.8779 | 61.2157 | 986.3755 | -0.0033629 | 2.1268 | -0.45637 | 0 | 0 | 2.0156
Remark= | "08:41:05 tr3t1b5"
Remark= | "08:41:07 Fo=2"
Remark= | "08:41:07 RF#23 8470 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:41:08 Fm=4"
21 | 08:41:08 | 4209.4997 | 0 | -58.4723 | -0.0371 | -1489.1844 | 23 | 0 | 2.5976 | 4.2927 | 0 | 0 | 0 | 0.39488 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 155.8659 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.47729 | 1.1786 | 24.4749 | 2 | 4.6449 | 1 | 9.2897 | 25.8501 | 24.4749 | 25.8067 | 979.8714 | 1019.0999 | 20.4525 | 20.1413 | 57.775 | 56.896 | 300.5915 | -0.42383 | 12.7552 | 94.4751 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.00047729 | 297.6249 | 299.0001 | -0.067812 | 0.14679 | 3.0815 | 32.6169 | 12.4756 | 25.1625 | 3.2106 | -0.037249 | 1.9029 | 1.3078 | -0.023267 | -140.6908 | -1.4613 | 60.5573 | 1027.5972 | -0.034458 | 1.6951 | -0.36873 | 0 | 0 | 2.5324
Remark= | "08:41:49 tr4t1b5"
Remark= | "08:41:58 Fo=2"
Remark= | "08:41:58 RF#24 8531 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:41:59 Fm=3"
22 | 08:41:59 | 4260.4997 | 0 | -37.543 | -0.036291 | -649.9563 | 24 | 0 | 2.1858 | 3.3919 | 0 | 0 | 0 | 0.3556 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 87.11 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.45224 | 1.1421 | 24.2779 | 2 | 4.6449 | 1 | 9.2897 | 25.8309 | 24.2779 | 25.7946 | 977.9503 | 1003.2324 | 20.4389 | 20.1441 | 57.8067 | 56.9728 | 300.5814 | -0.48219 | 12.7308 | 94.482 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00045224 | 297.4279 | 298.9809 | -0.07715 | 0.1504 | 3.0453 | 32.232 | 12.0879 | 25.0544 | 3.19 | -0.036433 | 1.9033 | 1.2868 | -0.022758 | -61.4092 | -0.64786 | 61.3376 | 1008.6882 | -0.02283 | 1.2062 | -0.4195 | 0 | 0 | 2.8122
Remark= | "08:42:43 tr1t1b5"
Remark= | "08:42:46 Fo=2"
Remark= | "08:42:46 RF#25 8532 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:42:47 Fm=3"
23 | 08:42:47 | 4308.4997 | 0 | -70.3894 | -0.067023 | -650.3595 | 25 | 0 | 2.6365 | 3.8079 | 0 | 0 | 0 | 0.30763 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 187.0338 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.85082 | 1.1598 | 24.2209 | 2 | 4.6449 | 1 | 9.2897 | 25.8089 | 24.2209 | 25.7761 | 975.9808 | 1023.3973 | 20.4023 | 19.8474 | 57.7767 | 56.2053 | 300.5709 | -0.42644 | 12.8218 | 94.4794 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00085082 | 297.3709 | 298.9589 | -0.06823 | 0.2223 | 3.035 | 32.1229 | 12.2755 | 25.0149 | 3.1825 | -0.06751 | 1.8752 | 1.3073 | -0.04215 | -61.4456 | -0.63549 | 60.4813 | 1033.6264 | -0.041187 | 1.1714 | -0.371 | 0 | 0 | 3.2507
Remark= | "08:43:35 tr6t1b5"
Remark= | "08:43:44 Fo=2"
Remark= | "08:43:44 RF#26 8398 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:43:45 Fm=4"
24 | 08:43:45 | 4366.4997 | 0 | -39.4408 | -0.052739 | -198.4717 | 26 | 0 | 2.3516 | 4.0908 | 0 | 0 | 0 | 0.42516 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 138.866 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.69254 | 1.2012 | 24.4654 | 2 | 4.6449 | 1 | 9.2897 | 25.7747 | 24.4654 | 25.7441 | 973.9624 | 1000.6661 | 20.3347 | 19.883 | 57.7009 | 56.4193 | 300.5863 | -0.31818 | 12.2338 | 94.4776 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00069254 | 297.6154 | 298.9247 | -0.050909 | 0.18177 | 3.0797 | 32.5974 | 12.7144 | 25.12 | 3.2025 | -0.05304 | 1.8785 | 1.324 | -0.033123 | -18.7511 | -0.19834 | 59.7159 | 1006.3977 | -0.023403 | 1.7392 | -0.27682 | 0 | 0 | 2.3521
Remark= | "08:44:30 tr2t1b5"
Remark= | "08:44:33 Fo=1"
Remark= | "08:44:33 RF#27 8457 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:44:34 Fm=3"
25 | 08:44:34 | 4415.9997 | 0 | -49.5459 | -0.066394 | -189.3136 | 27 | 0 | 1.8428 | 3.6005 | 0 | 0 | 0 | 0.48818 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 125.734 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.86464 | 1.1897 | 24.318 | 2 | 4.6449 | 1 | 9.2897 | 25.7439 | 24.318 | 25.7171 | 972.2728 | 1005.8167 | 20.2845 | 19.7206 | 57.6584 | 56.0554 | 300.595 | -0.44379 | 12.7015 | 94.4687 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.00086464 | 297.468 | 298.8939 | -0.071007 | 0.21732 | 3.0527 | 32.314 | 12.5934 | 25.0309 | 3.1855 | -0.066872 | 1.863 | 1.3226 | -0.041752 | -17.8842 | -0.18822 | 59.6989 | 1013.0168 | -0.029198 | 1.7577 | -0.3861 | 0 | 0 | 2.0484
Remark= | "08:45:52 tr5t1b6"
Remark= | "08:45:54 Fo=2"
Remark= | "08:45:54 RF#28 8595 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:45:55 Fm=3"
26 | 08:45:55 | 4496.9997 | 0 | -54.4336 | -0.078084 | -109.5423 | 28 | 0 | 2.2011 | 3.6544 | 0 | 0 | 0 | 0.39769 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 132.9075 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0052 | 1.1748 | 24.1441 | 2 | 4.6449 | 1 | 9.2897 | 25.6837 | 24.1441 | 25.663 | 970.1022 | 1006.9939 | 20.1989 | 19.5431 | 57.6187 | 55.748 | 300.5872 | -0.46211 | 12.8084 | 94.4662 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.0010052 | 297.2941 | 298.8337 | -0.073938 | 0.24723 | 3.021 | 31.9797 | 12.4366 | 24.9139 | 3.1634 | -0.078746 | 1.8462 | 1.3172 | -0.049156 | -10.348 | -0.10878 | 59.7443 | 1014.9043 | -0.032043 | 1.4533 | -0.40204 | 0 | 0 | 2.5145
Remark= | "08:46:39 tr3t1b6"
Remark= | "08:46:42 Fo=2"
Remark= | "08:46:42 RF#29 8543 um, Fmax=5 Int=9 Mod=20 Filter=50"
Remark= | "08:46:44 Fm=5"
27 | 08:46:44 | 4545.4997 | 0 | -73.8499 | -0.1019 | -139.8281 | 29 | 0 | 2.5725 | 5.5155 | 0 | 0 | 0 | 0.53359 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 139.65 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.2909 | 1.1536 | 23.8898 | 2 | 4.6449 | 1 | 9.2897 | 25.6511 | 23.8898 | 25.6332 | 967.7015 | 1017.7115 | 20.126 | 19.2837 | 57.5204 | 55.113 | 300.5948 | -0.59961 | 12.7196 | 94.4637 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0012909 | 297.0398 | 298.8011 | -0.095938 | 0.30757 | 2.9752 | 31.4958 | 12.2122 | 24.7705 | 3.1364 | -0.10303 | 1.8216 | 1.3148 | -0.064289 | -13.2087 | -0.13739 | 59.7748 | 1028.4436 | -0.042923 | 2.943 | -0.52166 | 0 | 0 | 1.8741
Remark= | "08:47:29 tr6t1b6"
Remark= | "08:47:32 Fo=2"
Remark= | "08:47:32 RF#30 8529 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:47:33 Fm=3"
28 | 08:47:33 | 4594.9997 | 0 | -117.1631 | -0.12969 | -389.1264 | 30 | 0 | 2.2493 | 3.7827 | 0 | 0 | 0 | 0.40539 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 282.9236 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.7023 | 1.1918 | 23.9053 | 2 | 4.6449 | 1 | 9.2897 | 25.6187 | 23.9053 | 25.6019 | 966.6811 | 1045.8149 | 20.0202 | 18.9091 | 57.3282 | 54.1464 | 300.6132 | -0.47193 | 12.8243 | 94.4636 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | -0.0017023 | 297.0553 | 298.7687 | -0.075509 | 0.37801 | 2.978 | 31.5252 | 12.6161 | 24.762 | 3.1348 | -0.13153 | 1.7862 | 1.3486 | -0.08204 | -36.7583 | -0.37208 | 58.3643 | 1062.8413 | -0.064338 | 1.5335 | -0.41058 | 0 | 0 | 2.4668
Remark= | "08:48:18 tr4t1b6"
Remark= | "08:48:20 Fo=2"
Remark= | "08:48:20 RF#31 8591 um, Fmax=3 Int=9 Mod=20 Filter=50"
Remark= | "08:48:21 Fm=3"
29 | 08:48:21 | 4643.4997 | 0 | -43.8402 | -0.079004 | 103.059 | 31 | 0 | 2.5775 | 3.5452 | 0 | 0 | 0 | 0.27297 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 83.1606 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.99433 | 1.1489 | 23.8688 | 2 | 4.6449 | 1 | 9.2897 | 25.5884 | 23.8688 | 25.5705 | 965.605 | 995.4332 | 19.9431 | 19.2943 | 57.2096 | 55.3483 | 300.5879 | -0.59213 | 12.7965 | 94.4624 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00099433 | 297.0188 | 298.7384 | -0.09474 | 0.25332 | 2.9715 | 31.4565 | 12.1622 | 24.7286 | 3.1286 | -0.079681 | 1.8226 | 1.306 | -0.04974 | 9.7352 | 0.10353 | 59.9896 | 1001.8041 | -0.026252 | 0.96773 | -0.51515 | 0 | 0 | 3.6634
Remark= | "08:49:39 tr1t1b6"
Remark= | "08:49:50 Fo=2"
Remark= | "08:49:50 RF#32 8582 um, Fmax=4 Int=9 Mod=20 Filter=50"
Remark= | "08:49:51 Fm=4"
30 | 08:49:51 | 4733.4997 | 0 | -5.5073 | -0.011442 | 187.1371 | 32 | 0 | 2.5695 | 4.0199 | 0 | 0 | 0 | 0.3608 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 11.4094 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.13832 | 1.1112 | 23.9146 | 2 | 4.6449 | 1 | 9.2897 | 25.5276 | 23.9146 | 25.5173 | 963.8235 | 967.5771 | 19.8698 | 19.7796 | 57.2054 | 56.9456 | 300.5688 | -0.45408 | 12.5516 | 94.4625 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5028 | -0.00013832 | 297.0646 | 298.6776 | -0.072654 | 0.097573 | 2.9797 | 31.5432 | 11.7636 | 24.7211 | 3.1272 | -0.011456 | 1.8684 | 1.2588 | -0.007159 | 17.6774 | 0.19341 | 61.677 | 968.3775 | -0.0035077 | 1.4504 | -0.39505 | 0 | 0 | 2.7716
Remark= | "08:50:54 tr2t1b6"
Remark= | "08:50:57 Fo=2"
Remark= | "08:50:57 RF#33 8564 um, Fmax=2 Int=9 Mod=20 Filter=50"
Remark= | "08:50:58 Fm=2"
31 | 08:50:58 | 4800.4997 | 0 | -66.3367 | -0.058807 | -791.8569 | 33 | 0 | 2.1262 | 2.9586 | 0 | 0 | 0 | 0.28137 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 164.4781 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.74351 | 1.1565 | 23.909 | 2 | 4.6449 | 1 | 9.2897 | 25.4874 | 23.909 | 25.477 | 960.7272 | 1005.3652 | 19.7763 | 19.2911 | 57.0679 | 55.6678 | 300.5703 | -0.45659 | 12.0305 | 94.4553 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00074351 | 297.059 | 298.6374 | -0.073055 | 0.20272 | 2.9786 | 31.5349 | 12.2438 | 24.6982 | 3.1229 | -0.059182 | 1.8221 | 1.3008 | -0.036955 | -74.7951 | -0.78763 | 59.9077 | 1015.0054 | -0.039153 | 0.83246 | -0.39724 | 0 | 0 | 3.5541

## filtrado
fator1_Ca | fator2_Al | Bloco | Tratamento | Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
SEM_Ca | SEM_Al | 2 | 1 | 5 | 08:15:21 | 2659.4998 | 0 | -465.9445 | -0.33108 | -778.1539 | 7 | 0 | 1.9005 | 3.7069 | 0 | 0 | 0 | 0.48729 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 1166.1689 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -4.2047 | 1.1304 | 22.691 | 2 | 4.6449 | 1 | 9.2897 | 24.8135 | 22.691 | 24.8806 | 1097.197 | 1411.1154 | 20.0715 | 17.3227 | 60.3201 | 52.0594 | 300.6373 | -0.45827 | 151.522 | 94.5003 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5032 | -0.0042047 | 295.841 | 297.9635 | -0.073323 | 0.8375 | 2.7674 | 29.2847 | 11.962 | 23.7522 | 2.9507 | -0.34332 | 1.637 | 1.3137 | -0.21344 | -73.5358 | -0.55145 | 56.6326 | 1478.8273 | -0.17844 | 1.8063 | -0.39869 | 0 | 0 | 2.0521
SEM_Ca | SEM_Al | 3 | 1 | 11 | 08:25:26 | 3265.9998 | 0 | -63.1864 | 0.033294 | 4081.9293 | 13 | 0 | 2.8689 | 4.5648 | 0 | 0 | 0 | 0.37152 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 121.3941 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.39592 | 1.0986 | 23.8698 | 2 | 4.6449 | 1 | 9.2897 | 24.8893 | 23.8698 | 24.8442 | 1043.6484 | 1085.4006 | 19.5658 | 19.824 | 58.5227 | 59.2949 | 300.615 | -0.58881 | 14.1674 | 94.4804 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.00039592 | 297.0198 | 298.0393 | -0.09421 | -0.023928 | 2.9716 | 31.4523 | 11.6283 | 24.3795 | 3.0639 | 0.033175 | 1.873 | 1.191 | 0.020745 | 385.6622 | 3.7608 | 62.1915 | 1094.583 | -0.035901 | 1.6959 | -0.51227 | 0 | 0 | 2.6916
SEM_Ca | SEM_Al | 4 | 1 | 15 | 08:31:34 | 3634.4997 | 0 | -32.8298 | 0.045207 | 2175.1536 | 17 | 0 | 2.3253 | 4.4571 | 0 | 0 | 0 | 0.47829 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 95.7851 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.56789 | 1.1611 | 24.4922 | 2 | 4.6449 | 1 | 9.2897 | 25.3959 | 24.4922 | 25.3333 | 1019.3741 | 1040.8229 | 19.9889 | 20.359 | 58.0132 | 59.0874 | 300.6122 | -0.38196 | 13.6768 | 94.4838 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.00056789 | 297.6422 | 298.5459 | -0.061114 | -0.059133 | 3.0847 | 32.6477 | 12.2887 | 24.9441 | 3.1691 | 0.044988 | 1.9236 | 1.2455 | 0.028137 | 205.5167 | 2.0898 | 61.5222 | 1045.5938 | -0.019317 | 2.1318 | -0.3323 | 0 | 0 | 2.0908
SEM_Ca | SEM_Al | 5 | 1 | 23 | 08:42:47 | 4308.4997 | 0 | -70.3894 | -0.067023 | -650.3595 | 25 | 0 | 2.6365 | 3.8079 | 0 | 0 | 0 | 0.30763 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 187.0338 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.85082 | 1.1598 | 24.2209 | 2 | 4.6449 | 1 | 9.2897 | 25.8089 | 24.2209 | 25.7761 | 975.9808 | 1023.3973 | 20.4023 | 19.8474 | 57.7767 | 56.2053 | 300.5709 | -0.42644 | 12.8218 | 94.4794 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00085082 | 297.3709 | 298.9589 | -0.06823 | 0.2223 | 3.035 | 32.1229 | 12.2755 | 25.0149 | 3.1825 | -0.06751 | 1.8752 | 1.3073 | -0.04215 | -61.4456 | -0.63549 | 60.4813 | 1033.6264 | -0.041187 | 1.1714 | -0.371 | 0 | 0 | 3.2507
SEM_Ca | SEM_Al | 6 | 1 | 30 | 08:49:51 | 4733.4997 | 0 | -5.5073 | -0.011442 | 187.1371 | 32 | 0 | 2.5695 | 4.0199 | 0 | 0 | 0 | 0.3608 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 11.4094 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.13832 | 1.1112 | 23.9146 | 2 | 4.6449 | 1 | 9.2897 | 25.5276 | 23.9146 | 25.5173 | 963.8235 | 967.5771 | 19.8698 | 19.7796 | 57.2054 | 56.9456 | 300.5688 | -0.45408 | 12.5516 | 94.4625 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5028 | -0.00013832 | 297.0646 | 298.6776 | -0.072654 | 0.097573 | 2.9797 | 31.5432 | 11.7636 | 24.7211 | 3.1272 | -0.011456 | 1.8684 | 1.2588 | -0.007159 | 17.6774 | 0.19341 | 61.677 | 968.3775 | -0.0035077 | 1.4504 | -0.39505 | 0 | 0 | 2.7716
SEM_Ca | COM_Al | 2 | 2 | 2 | 08:09:54 | 2331.9998 | 0 | -483.4662 | -0.14631 | -3737.7918 | 4 | 0 | 3.0206 | 4.5543 | 0 | 0 | 0 | 0.33675 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 849.9077 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.765 | 1.0941 | 23.4987 | 2 | 4.6449 | 1 | 9.2897 | 25.4074 | 23.4987 | 25.415 | 1132.9426 | 1456.325 | 20.3247 | 19.1729 | 58.9594 | 55.6182 | 300.5956 | -0.65249 | 153.512 | 94.5031 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.001765 | 296.6487 | 298.5574 | -0.1044 | 0.39765 | 2.906 | 30.7499 | 11.577 | 24.4531 | 3.0775 | -0.14865 | 1.8119 | 1.2656 | -0.092692 | -353.233 | -2.5666 | 60.7693 | 1526.5832 | -0.19246 | 1.5336 | -0.56767 | 0 | 0 | 2.9696
SEM_Ca | COM_Al | 3 | 2 | 9 | 08:22:20 | 3079.4998 | 0 | -32.9325 | -0.0059851 | -7659.856 | 11 | 0 | 2.1309 | 4.9872 | 0 | 0 | 0 | 0.57273 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 119.5545 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.068457 | 1.0529 | 23.4658 | 2 | 4.6449 | 1 | 9.2897 | 24.6279 | 23.4658 | 24.612 | 1056.991 | 1078.9523 | 19.5954 | 19.5507 | 59.5378 | 59.4021 | 300.5868 | -0.30701 | 13.2104 | 94.4873 | -2.0296 | -0.40108 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -6.8457e-05 | 296.6158 | 297.7779 | -0.049121 | 0.064463 | 2.9002 | 30.6941 | 11.1434 | 24.0469 | 3.0034 | -0.005989 | 1.8473 | 1.1561 | -0.0037428 | -723.7593 | -7.0993 | 62.7357 | 1083.7381 | -0.019064 | 2.8564 | -0.2671 | 0 | 0 | 1.746
SEM_Ca | COM_Al | 4 | 2 | 18 | 08:35:22 | 3862.4997 | 0 | -46.8605 | 0.058698 | 2285.3212 | 20 | 0 | 1.9698 | 3.7293 | 0 | 0 | 0 | 0.47181 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 138.8384 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.75028 | 1.1824 | 24.8389 | 2 | 4.6449 | 1 | 9.2897 | 25.6869 | 24.8389 | 25.62 | 1004.5529 | 1035.2155 | 20.3275 | 20.8163 | 57.9859 | 59.3803 | 300.5862 | -0.37967 | 13.1082 | 94.4847 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.00075028 | 297.9889 | 298.8369 | -0.060748 | -0.093692 | 3.1493 | 33.3309 | 12.5146 | 25.2629 | 3.2299 | 0.058329 | 1.9668 | 1.263 | 0.036489 | 215.928 | 2.2076 | 61.651 | 1042.0253 | -0.027725 | 1.7595 | -0.33032 | 0 | 0 | 2.1195
SEM_Ca | COM_Al | 5 | 2 | 25 | 08:44:34 | 4415.9997 | 0 | -49.5459 | -0.066394 | -189.3136 | 27 | 0 | 1.8428 | 3.6005 | 0 | 0 | 0 | 0.48818 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 125.734 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.86464 | 1.1897 | 24.318 | 2 | 4.6449 | 1 | 9.2897 | 25.7439 | 24.318 | 25.7171 | 972.2728 | 1005.8167 | 20.2845 | 19.7206 | 57.6584 | 56.0554 | 300.595 | -0.44379 | 12.7015 | 94.4687 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.00086464 | 297.468 | 298.8939 | -0.071007 | 0.21732 | 3.0527 | 32.314 | 12.5934 | 25.0309 | 3.1855 | -0.066872 | 1.863 | 1.3226 | -0.041752 | -17.8842 | -0.18822 | 59.6989 | 1013.0168 | -0.029198 | 1.7577 | -0.3861 | 0 | 0 | 2.0484
SEM_Ca | COM_Al | 6 | 2 | 31 | 08:50:58 | 4800.4997 | 0 | -66.3367 | -0.058807 | -791.8569 | 33 | 0 | 2.1262 | 2.9586 | 0 | 0 | 0 | 0.28137 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 164.4781 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.74351 | 1.1565 | 23.909 | 2 | 4.6449 | 1 | 9.2897 | 25.4874 | 23.909 | 25.477 | 960.7272 | 1005.3652 | 19.7763 | 19.2911 | 57.0679 | 55.6678 | 300.5703 | -0.45659 | 12.0305 | 94.4553 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00074351 | 297.059 | 298.6374 | -0.073055 | 0.20272 | 2.9786 | 31.5349 | 12.2438 | 24.6982 | 3.1229 | -0.059182 | 1.8221 | 1.3008 | -0.036955 | -74.7951 | -0.78763 | 59.9077 | 1015.0054 | -0.039153 | 0.83246 | -0.39724 | 0 | 0 | 3.5541
COM_Ca | SEM_Al | 2 | 3 | 7 | 08:17:48 | 2806.9998 | 0 | -26.0632 | -0.099455 | 670.487 | 9 | 0 | 2.5392 | 3.43 | 0 | 0 | 0 | 0.25971 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 57.5452 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0155 | 0.93151 | 22.5703 | 2 | 4.6449 | 1 | 9.2897 | 24.604 | 22.5703 | 24.5947 | 1082.1865 | 1100.2704 | 19.8775 | 19.2148 | 60.486 | 58.4695 | 300.6059 | -0.50062 | 152.7009 | 94.4949 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0010155 | 295.7203 | 297.754 | -0.080099 | 0.27054 | 2.7472 | 29.0726 | 9.8578 | 23.5872 | 2.9215 | -0.10053 | 1.8157 | 1.1058 | -0.062735 | 63.3576 | 0.60938 | 64.8776 | 1104.0579 | -0.015315 | 0.89078 | -0.43554 | 0 | 0 | 3.8505
COM_Ca | SEM_Al | 3 | 3 | 12 | 08:26:48 | 3347.4998 | 0 | -19.4248 | 0.016626 | 2884.2068 | 14 | 0 | 2.1726 | 3.3768 | 0 | 0 | 0 | 0.35662 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 65.1145 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.20558 | 1.1401 | 24.0686 | 2 | 4.6449 | 1 | 9.2897 | 25.011 | 24.0686 | 24.9572 | 1038.2493 | 1051.0305 | 19.6288 | 19.7629 | 58.2865 | 58.6847 | 300.5773 | -0.32524 | 14.0265 | 94.4803 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.00020558 | 297.2186 | 298.161 | -0.052039 | 0.0063786 | 3.0073 | 31.8303 | 12.0674 | 24.5398 | 3.0935 | 0.016597 | 1.8672 | 1.2263 | 0.010376 | 272.5007 | 2.7442 | 61.154 | 1053.8534 | -0.011272 | 1.2042 | -0.28296 | 0 | 0 | 2.8041
COM_Ca | SEM_Al | 4 | 3 | 16 | 08:32:28 | 3687.9997 | 0 | -107.0224 | 0.087474 | 3018.6516 | 18 | 0 | 1.7109 | 3.0985 | 0 | 0 | 0 | 0.44784 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 277.0659 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 1.0764 | 1.1422 | 24.6055 | 2 | 4.6449 | 1 | 9.2897 | 25.468 | 24.6055 | 25.4041 | 1015.6034 | 1086.0371 | 20.0791 | 20.7805 | 58.0281 | 60.055 | 300.576 | -0.43984 | 13.9424 | 94.4873 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.0010764 | 297.7555 | 298.618 | -0.070375 | -0.15067 | 3.1057 | 32.8685 | 12.0881 | 25.0367 | 3.1866 | 0.086658 | 1.9635 | 1.2232 | 0.054234 | 285.2242 | 2.7795 | 62.5618 | 1101.5898 | -0.06078 | 1.3876 | -0.38266 | 0 | 0 | 2.2329
COM_Ca | SEM_Al | 5 | 3 | 21 | 08:41:08 | 4209.4997 | 0 | -58.4723 | -0.0371 | -1489.1844 | 23 | 0 | 2.5976 | 4.2927 | 0 | 0 | 0 | 0.39488 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 155.8659 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.47729 | 1.1786 | 24.4749 | 2 | 4.6449 | 1 | 9.2897 | 25.8501 | 24.4749 | 25.8067 | 979.8714 | 1019.0999 | 20.4525 | 20.1413 | 57.775 | 56.896 | 300.5915 | -0.42383 | 12.7552 | 94.4751 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.00047729 | 297.6249 | 299.0001 | -0.067812 | 0.14679 | 3.0815 | 32.6169 | 12.4756 | 25.1625 | 3.2106 | -0.037249 | 1.9029 | 1.3078 | -0.023267 | -140.6908 | -1.4613 | 60.5573 | 1027.5972 | -0.034458 | 1.6951 | -0.36873 | 0 | 0 | 2.5324
COM_Ca | SEM_Al | 6 | 3 | 27 | 08:46:44 | 4545.4997 | 0 | -73.8499 | -0.1019 | -139.8281 | 29 | 0 | 2.5725 | 5.5155 | 0 | 0 | 0 | 0.53359 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 139.65 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.2909 | 1.1536 | 23.8898 | 2 | 4.6449 | 1 | 9.2897 | 25.6511 | 23.8898 | 25.6332 | 967.7015 | 1017.7115 | 20.126 | 19.2837 | 57.5204 | 55.113 | 300.5948 | -0.59961 | 12.7196 | 94.4637 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0012909 | 297.0398 | 298.8011 | -0.095938 | 0.30757 | 2.9752 | 31.4958 | 12.2122 | 24.7705 | 3.1364 | -0.10303 | 1.8216 | 1.3148 | -0.064289 | -13.2087 | -0.13739 | 59.7748 | 1028.4436 | -0.042923 | 2.943 | -0.52166 | 0 | 0 | 1.8741
COM_Ca | COM_Al | 2 | 4 | 3 | 08:11:01 | 2398.4998 | 0 | -220.5885 | -0.18723 | -585.1533 | 5 | 0 | 0.55806 | 4.2319 | 0 | 0 | 0 | 0.86813 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 434.4124 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -2.2922 | 1.1056 | 23.3789 | 2 | 4.6449 | 1 | 9.2897 | 25.3372 | 23.3789 | 25.3419 | 1125.2831 | 1273.9913 | 20.3258 | 18.8294 | 59.2084 | 54.8496 | 300.6003 | -0.58102 | 151.1203 | 94.5016 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0022922 | 296.5289 | 298.4872 | -0.092963 | 0.49289 | 2.885 | 30.529 | 11.6995 | 24.358 | 3.06 | -0.19108 | 1.7794 | 1.2806 | -0.11908 | -55.2979 | -0.45931 | 59.8994 | 1306.0477 | -0.10117 | 3.6739 | -0.50548 | 0 | 0 | 1.1519
COM_Ca | COM_Al | 3 | 4 | 10 | 08:24:16 | 3194.9998 | 0 | -22.6527 | 0.013232 | 3759.9658 | 12 | 0 | 2.4718 | 3.3885 | 0 | 0 | 0 | 0.27053 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 63.697 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.1566 | 1.0913 | 23.74 | 2 | 4.6449 | 1 | 9.2897 | 24.7906 | 23.74 | 24.7515 | 1048.2034 | 1063.1636 | 19.554 | 19.6562 | 58.8351 | 59.1424 | 300.6137 | -0.39073 | 13.9885 | 94.4835 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.0001566 | 296.89 | 297.9406 | -0.062516 | 0.019763 | 2.9485 | 31.2067 | 11.5505 | 24.2653 | 3.043 | 0.013213 | 1.8572 | 1.1859 | 0.0082598 | 355.2549 | 3.5366 | 62.0752 | 1066.4555 | -0.013185 | 0.91669 | -0.33993 | 0 | 0 | 3.6964
COM_Ca | COM_Al | 4 | 4 | 19 | 08:37:51 | 4012.4997 | 0 | -30.536 | 0.018605 | 3595.9389 | 21 | 0 | 1.6202 | 3.9854 | 0 | 0 | 0 | 0.59346 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 77.4201 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.24312 | 1.2038 | 24.8302 | 2 | 4.6449 | 1 | 9.2897 | 25.8447 | 24.8302 | 25.7774 | 993.5558 | 1013.7088 | 20.4155 | 20.5739 | 57.6928 | 58.1405 | 300.5952 | -0.43851 | 12.8329 | 94.4816 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | 0.00024312 | 297.9802 | 298.9947 | -0.070161 | 0.0033341 | 3.1476 | 33.3147 | 12.7408 | 25.3375 | 3.2442 | 0.018568 | 1.9439 | 1.3004 | 0.011608 | 339.7502 | 3.5473 | 60.7757 | 1018.1463 | -0.018228 | 2.3652 | -0.3815 | 0 | 0 | 1.685
COM_Ca | COM_Al | 5 | 4 | 22 | 08:41:59 | 4260.4997 | 0 | -37.543 | -0.036291 | -649.9563 | 24 | 0 | 2.1858 | 3.3919 | 0 | 0 | 0 | 0.3556 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 87.11 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.45224 | 1.1421 | 24.2779 | 2 | 4.6449 | 1 | 9.2897 | 25.8309 | 24.2779 | 25.7946 | 977.9503 | 1003.2324 | 20.4389 | 20.1441 | 57.8067 | 56.9728 | 300.5814 | -0.48219 | 12.7308 | 94.482 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00045224 | 297.4279 | 298.9809 | -0.07715 | 0.1504 | 3.0453 | 32.232 | 12.0879 | 25.0544 | 3.19 | -0.036433 | 1.9033 | 1.2868 | -0.022758 | -61.4092 | -0.64786 | 61.3376 | 1008.6882 | -0.02283 | 1.2062 | -0.4195 | 0 | 0 | 2.8122
COM_Ca | COM_Al | 6 | 4 | 29 | 08:48:21 | 4643.4997 | 0 | -43.8402 | -0.079004 | 103.059 | 31 | 0 | 2.5775 | 3.5452 | 0 | 0 | 0 | 0.27297 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 83.1606 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.99433 | 1.1489 | 23.8688 | 2 | 4.6449 | 1 | 9.2897 | 25.5884 | 23.8688 | 25.5705 | 965.605 | 995.4332 | 19.9431 | 19.2943 | 57.2096 | 55.3483 | 300.5879 | -0.59213 | 12.7965 | 94.4624 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00099433 | 297.0188 | 298.7384 | -0.09474 | 0.25332 | 2.9715 | 31.4565 | 12.1622 | 24.7286 | 3.1286 | -0.079681 | 1.8226 | 1.306 | -0.04974 | 9.7352 | 0.10353 | 59.9896 | 1001.8041 | -0.026252 | 0.96773 | -0.51515 | 0 | 0 | 3.6634

## adicionais
Bloco | Tratamento | Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | FCnt | DCnt | Fo | Fm | Fo' | Fm' | Fs | Fv/Fm | Fv'/Fm' | PhiPS2 | Adark | RedAbs | BlueAbs | %Blue | LeafAbs | PhiCO2 | qP | qN | NPQ | ParIn@Fs | PS2/1 | ETR | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs | Fv | PARabs | Fv' | qP_Fo | qN_Fo
2 | 5 | 6 | 08:16:34 | 2732.9998 | 0 | -313.1588 | -0.39443 | 63.2617 | 8 | 0 | 2.5145 | 4.9014 | 0 | 0 | 0 | 0.48697 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 956.9384 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -5.0882 | 1.1408 | 22.3646 | 2 | 4.6449 | 1 | 9.2897 | 24.6384 | 22.3646 | 24.7187 | 1088.1995 | 1300.9663 | 19.9667 | 16.6376 | 60.6361 | 50.526 | 300.5904 | -0.37495 | 151.3467 | 94.5004 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0050882 | 295.5146 | 297.7884 | -0.059992 | 1.0002 | 2.7131 | 28.7098 | 12.0722 | 23.5015 | 2.9065 | -0.41192 | 1.5723 | 1.3342 | -0.25582 | 5.9783 | 0.048627 | 55.0675 | 1346.4752 | -0.12807 | 2.3868 | -0.32621 | 0 | 0 | 2.0535
3 | 5 | 13 | 08:28:39 | 3458.4998 | 0 | -113.2494 | 0.063567 | 3924.1167 | 15 | 0 | 2.2102 | 3.9496 | 0 | 0 | 0 | 0.44039 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 241.9777 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.76824 | 1.1197 | 24.2057 | 2 | 4.6449 | 1 | 9.2897 | 25.1639 | 24.2057 | 25.1079 | 1031.026 | 1105.8162 | 19.7402 | 20.241 | 58.09 | 59.5638 | 300.5738 | -0.5332 | 13.9435 | 94.4876 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 0.00076824 | 297.3557 | 298.3139 | -0.085312 | -0.092195 | 3.0322 | 32.0909 | 11.8498 | 24.6848 | 3.1204 | 0.063135 | 1.9125 | 1.2079 | 0.039498 | 370.7803 | 3.5486 | 62.3397 | 1122.2738 | -0.062907 | 1.7393 | -0.46388 | 0 | 0 | 2.2707
4 | 5 | 17 | 08:34:02 | 3782.4997 | 0 | -25.0448 | 0.038673 | 2034.1982 | 19 | 0 | 1.6861 | 3.4706 | 0 | 0 | 0 | 0.51417 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 61.1245 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.49932 | 1.1922 | 24.746 | 2 | 4.6449 | 1 | 9.2897 | 25.5919 | 24.746 | 25.5255 | 1009.7491 | 1026.0703 | 20.2034 | 20.5287 | 57.9592 | 58.8926 | 300.6215 | -0.45215 | 12.4883 | 94.487 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | 0.00049932 | 297.896 | 298.7419 | -0.072345 | -0.049636 | 3.1319 | 33.1458 | 12.6171 | 25.169 | 3.2118 | 0.038513 | 1.9397 | 1.2721 | 0.024085 | 192.2053 | 1.9825 | 61.047 | 1029.7099 | -0.014848 | 1.7845 | -0.39337 | 0 | 0 | 1.9449
5 | 5 | 20 | 08:40:24 | 4164.9997 | 0 | -5.4187 | 0.0030054 | 3822.0198 | 22 | 0 | 2.16 | 4.2868 | 0 | 0 | 0 | 0.49612 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 9.6823 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.038382 | 1.1749 | 24.6361 | 2 | 4.6449 | 1 | 9.2897 | 25.867 | 24.6361 | 25.8163 | 982.0078 | 985.588 | 20.4694 | 20.4944 | 57.7731 | 57.8437 | 300.5876 | -0.52457 | 12.179 | 94.4886 | -2.0296 | -0.40108 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | 3.8382e-05 | 297.7861 | 299.017 | -0.083931 | 0.049242 | 3.1113 | 32.9283 | 12.4339 | 25.2515 | 3.2277 | 0.0030045 | 1.9365 | 1.2912 | 0.0018779 | 361.1371 | 3.8779 | 61.2157 | 986.3755 | -0.0033629 | 2.1268 | -0.45637 | 0 | 0 | 2.0156
6 | 5 | 26 | 08:45:55 | 4496.9997 | 0 | -54.4336 | -0.078084 | -109.5423 | 28 | 0 | 2.2011 | 3.6544 | 0 | 0 | 0 | 0.39769 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 132.9075 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.0052 | 1.1748 | 24.1441 | 2 | 4.6449 | 1 | 9.2897 | 25.6837 | 24.1441 | 25.663 | 970.1022 | 1006.9939 | 20.1989 | 19.5431 | 57.6187 | 55.748 | 300.5872 | -0.46211 | 12.8084 | 94.4662 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.0010052 | 297.2941 | 298.8337 | -0.073938 | 0.24723 | 3.021 | 31.9797 | 12.4366 | 24.9139 | 3.1634 | -0.078746 | 1.8462 | 1.3172 | -0.049156 | -10.348 | -0.10878 | 59.7443 | 1014.9043 | -0.032043 | 1.4533 | -0.40204 | 0 | 0 | 2.5145
2 | 6 | 4 | 08:12:48 | 2505.9998 | 0 | -122.1075 | -0.17008 | 54.6439 | 6 | 0 | 3.0765 | 3.7685 | 0 | 0 | 0 | 0.18361 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 385.9851 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -2.0154 | 1.0722 | 23.2571 | 2 | 4.6449 | 1 | 9.2897 | 25.2103 | 23.2571 | 25.1896 | 1114.1442 | 1196.9934 | 20.2748 | 18.9593 | 59.5079 | 55.6468 | 300.5941 | -0.36065 | 152.3435 | 94.5022 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0020154 | 296.4071 | 298.3603 | -0.057703 | 0.44388 | 2.8639 | 30.3051 | 11.3459 | 24.2337 | 3.0373 | -0.17326 | 1.7917 | 1.2456 | -0.108 | 5.164 | 0.045651 | 60.8998 | 1214.7383 | -0.061218 | 0.69192 | -0.31376 | 0 | 0 | 5.4463
3 | 6 | 8 | 08:21:10 | 3009.4998 | 0 | -246.5648 | -0.054318 | -5956.1033 | 10 | 0 | 2.3616 | 4.3565 | 0 | 0 | 0 | 0.45792 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 569.9037 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.6141 | 1.0358 | 23.2099 | 2 | 4.6449 | 1 | 9.2897 | 24.5467 | 23.2099 | 24.5512 | 1063.3076 | 1227.8551 | 19.662 | 19.2613 | 60.0323 | 58.8089 | 300.6049 | -0.49527 | 13.6134 | 94.4895 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.503 | -0.0006141 | 296.3599 | 297.6967 | -0.079244 | 0.16842 | 2.8557 | 30.2229 | 10.9615 | 23.8783 | 2.9732 | -0.054637 | 1.82 | 1.1532 | -0.034119 | -562.7892 | -4.8508 | 62.5921 | 1263.6864 | -0.12213 | 1.9949 | -0.43089 | 0 | 0 | 2.1838
4 | 6 | 14 | 08:30:21 | 3561.4998 | 0 | -72.1258 | 0.058015 | 3031.425 | 16 | 0 | 1.6067 | 3.8472 | 0 | 0 | 0 | 0.58237 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 231.5786 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | 0.71207 | 1.1362 | 24.3498 | 2 | 4.6449 | 1 | 9.2897 | 25.2945 | 24.3498 | 25.2365 | 1024.6459 | 1072.1313 | 19.8815 | 20.3457 | 58.0499 | 59.4053 | 300.565 | -0.35303 | 13.9337 | 94.4832 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5028 | 0.00071207 | 297.4998 | 298.4445 | -0.056485 | -0.082722 | 3.0585 | 32.3707 | 12.0251 | 24.8222 | 3.1461 | 0.057655 | 1.9223 | 1.2238 | 0.036066 | 286.4186 | 2.8275 | 62.0832 | 1082.6128 | -0.041361 | 2.2405 | -0.30713 | 0 | 0 | 1.7171
5 | 6 | 24 | 08:43:45 | 4366.4997 | 0 | -39.4408 | -0.052739 | -198.4717 | 26 | 0 | 2.3516 | 4.0908 | 0 | 0 | 0 | 0.42516 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 138.866 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -0.69254 | 1.2012 | 24.4654 | 2 | 4.6449 | 1 | 9.2897 | 25.7747 | 24.4654 | 25.7441 | 973.9624 | 1000.6661 | 20.3347 | 19.883 | 57.7009 | 56.4193 | 300.5863 | -0.31818 | 12.2338 | 94.4776 | -2.0296 | -0.40108 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5029 | -0.00069254 | 297.6154 | 298.9247 | -0.050909 | 0.18177 | 3.0797 | 32.5974 | 12.7144 | 25.12 | 3.2025 | -0.05304 | 1.8785 | 1.324 | -0.033123 | -18.7511 | -0.19834 | 59.7159 | 1006.3977 | -0.023403 | 1.7392 | -0.27682 | 0 | 0 | 2.3521
6 | 6 | 28 | 08:47:33 | 4594.9997 | 0 | -117.1631 | -0.12969 | -389.1264 | 30 | 0 | 2.2493 | 3.7827 | 0 | 0 | 0 | 0.40539 | #DIV/0! | #DIV/0! | -1 | 0.87 | 0.92 | 0 | 0.87 | 282.9236 | #DIV/0! | 1 | #DIV/0! | 0 | 0.5 | #DIV/0! | -1.7023 | 1.1918 | 23.9053 | 2 | 4.6449 | 1 | 9.2897 | 25.6187 | 23.9053 | 25.6019 | 966.6811 | 1045.8149 | 20.0202 | 18.9091 | 57.3282 | 54.1464 | 300.6132 | -0.47193 | 12.8243 | 94.4636 | -2.0296 | -0.40108 | 0 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111105 | 1.5031 | -0.0017023 | 297.0553 | 298.7687 | -0.075509 | 0.37801 | 2.978 | 31.5252 | 12.6161 | 24.762 | 3.1348 | -0.13153 | 1.7862 | 1.3486 | -0.08204 | -36.7583 | -0.37208 | 58.3643 | 1062.8413 | -0.064338 | 1.5335 | -0.41058 | 0 | 0 | 2.4668
ad_photo_-Al | ad_photo_+Al
-313.1588 | -122.1075
-113.2494 | -246.5648
-25.0448 | -72.1258
-5.4187 | -39.4408
-54.4336 | -117.1631

## escuro_r_photo
adicionais | fator1_Ca | fator2_Al | bloco | photo
CaSO4-Al | NA | NA | 2 | -313.1588
CaSO4-Al | NA | NA | 3 | -113.2494
CaSO4-Al | NA | NA | 4 | -25.0448
CaSO4-Al | NA | NA | 5 | -5.4187
CaSO4-Al | NA | NA | 6 | -54.4336
CaSO4+Al | NA | NA | 2 | -122.1075
CaSO4+Al | NA | NA | 3 | -246.5648
CaSO4+Al | NA | NA | 4 | -72.1258
CaSO4+Al | NA | NA | 5 | -39.4408
CaSO4+Al | NA | NA | 6 | -117.1631
NA | SEM_Ca | SEM_Al | 2 | -465.9445
NA | SEM_Ca | SEM_Al | 3 | -63.1864
NA | SEM_Ca | SEM_Al | 4 | -32.8298
NA | SEM_Ca | SEM_Al | 5 | -70.3894
NA | SEM_Ca | SEM_Al | 6 | -5.5073
NA | SEM_Ca | COM_Al | 2 | -483.4662
NA | SEM_Ca | COM_Al | 3 | -32.9325
NA | SEM_Ca | COM_Al | 4 | -46.8605
NA | SEM_Ca | COM_Al | 5 | -49.5459
NA | SEM_Ca | COM_Al | 6 | -66.3367
NA | COM_Ca | SEM_Al | 2 | -26.0632
NA | COM_Ca | SEM_Al | 3 | -19.4248
NA | COM_Ca | SEM_Al | 4 | -107.0224
NA | COM_Ca | SEM_Al | 5 | -58.4723
NA | COM_Ca | SEM_Al | 6 | -73.8499
NA | COM_Ca | COM_Al | 2 | -220.5885
NA | COM_Ca | COM_Al | 3 | -22.6527
NA | COM_Ca | COM_Al | 4 | -30.536
NA | COM_Ca | COM_Al | 5 | -37.543
NA | COM_Ca | COM_Al | 6 | -43.8402